## Slide 1
⚡
CAN RENEWABLE ENERGY
SOLVE INDIA'S PEAK DEMAND PROBLEM?
A Capacity Planning Study · Operations Management + Managerial Economics
200+ GW
Peak Demand\n2024–25
125 GW
Solar Installed\nMar 2025
~50%
Renewables\nShare (cap)
0%
Solar at\nEvening Peak
WEEK 1 — DATA PIPELINE & FACTBASE
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 2
THE CENTRAL TENSION
☀️ WHEN RENEWABLES GENERATE
6 AM
SOLAR RISES
50%
12 PM
SOLAR PEAK
100%
3 PM
SOLAR HIGH + WIND MID
85%
6 PM
SOLAR DROPS
30%
8 PM
SOLAR = ZERO ❌
0%
10 PM
PEAK DEMAND! 🔴
0%
VS
⚡ WHEN INDIA NEEDS POWER
6 AM
Morning ramp-up
12 PM
Moderate (offices)
3 PM
High (AC peak)
6 PM
SURGING — return home
8 PM
MAXIMUM DEMAND 🔴
10 PM
Still very high
🔑 Research Question: Can solar + wind + storage bridge this timing mismatch — and at what cost?
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 3
DATA ARCHITECTURE — 9 OFFICIAL SOURCES
All data from Indian Government ministries. No synthetic data. No Kaggle. Institute-grade sources.
Daily Power Generation
📍 CEA / Min. of Power
🔗 India Data Portal (ISB) · 2014–2026
Energy Req. & Availability
📍 CEA
🔗 India Data Portal (ISB) · 2001–2026
Installed Capacity (Statewise)
📍 CEA
🔗 India Data Portal (ISB) · 2014–2026
Daily Coal Stocks
📍 Min. of Power
🔗 India Data Portal (ISB) · 2014–2026
Daily Power Outage
📍 Min. of Power
🔗 India Data Portal (ISB) · 2014–2026
Daily Renewable Generation
📍 CEA / MNRE
🔗 India Data Portal (ISB) · 2019–2026
State Renewable Generation
📍 CEA
🔗 India Data Portal (ISB) · 2019–2026
ISGS Renewable Generation
📍 CEA
🔗 India Data Portal (ISB) · 2019–2026
Monthly Installed Capacity
📍 CEA / POSOCO
🔗 Robbie Andrew (CICERO) · 1947–2026
🏛️ India Data Portal (indiadataportal.com) — ISB + Bill & Melinda Gates Foundation · Open Data Commons Attribution License
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 4
THE RENEWABLE REVOLUTION — INDIA'S CAPACITY MIX
Installed capacity (GW) by source · 2015–2025 · Source: CEA via India Data Portal / CICERO
Source
GW
188 GW
246 GW
Coal+Gas
41 GW
48 GW
Hydro
6 GW
9 GW
Nuclear
25 GW
52 GW
Wind
4 GW
106 GW
Solar
▓ 2015
█ 2025
☀️ Solar: 4 → 106 GW
26× growth in 10 years
Fastest energy buildout in history
💨 Wind: 25 → 52 GW
2× growth
Mostly in 7 states (TN, GJ, RJ, MH...)
⚫ Coal: Still dominant
165 → 221 GW (+34%)
Share fell from 59% → 49%
⚡ Total: 270 → 440+ GW
62% capacity growth
But peak gap still widens!
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 5
THE MISMATCH PROBLEM — CORE OPERATIONS CHALLENGE
Seasonal avg generation (MU/day) · India · 2019–2025 · Source: CEA Daily Renewable Report / IDP
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Solar (MU/day)
Wind (MU/day)
🔴 Peak demand season
⚠️ THREE MISMATCHES
1
DIURNAL
Solar = 0 at 8 PM peak
Evening demand surge unmet
2
SEASONAL
Solar peaks Apr–May
Wind peaks Jul–Sep
But peak demand = Apr–Jun + Oct
3
GEOGRAPHIC
Solar in Rajasthan/Gujarat
Wind in Tamil Nadu/AP
Demand peaks in UP/MH/Delhi
💡 Week 3: Storage sizing model solves #1 & #2
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 6
MBA ANALYTICAL FRAMEWORK — 4-WEEK ROADMAP
WK 01 ✅ DONE
DATA PIPELINE
⚙️ OPS
• Govt data acquisition (9 sources)
• Daily gen + capacity + coal + outage
• Master dataset construction
📈 ECON
• Baseline facts established
• Demand-supply gap quantified
• Regional capacity map
🔧 Pandas · Matplotlib · Plotly
WK 02 ⏭ NEXT
DEEP ANALYSIS
⚙️ OPS
• Capacity utilisation by source
• State-level comparisons
• Seasonal demand patterns
📈 ECON
• Price-demand correlation
• Deficit cost estimation
• Transmission bottleneck map
🔧 Seaborn · Plotly Choropleth · Statsmodels
WK 03 📅 WEEK 3
ML MODELS + MBA TOOLS
⚙️ OPS
• EOQ model: coal inventory
• LP: optimal generation mix
• BESS sizing for peak shaving
📈 ECON
• SARIMAX: peak demand forecast
• K-Means: state clustering
• Learning curve: RE cost trend
🔧 Prophet · Sklearn · PuLP · Scipy
WK 04 📅 WEEK 4
RECOMMENDATIONS
⚙️ OPS
• Counterfactual: 500 GW solar?
• Storage requirement model
• Policy cost-benefit analysis
📈 ECON
• Pigouvian subsidy calc
• DWL from energy deficit
• Executive summary + report
🔧 Full stack · Final PPTX · Report
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 7
OPERATIONS LENS — COAL INVENTORY AS SYSTEM CONSTRAINT
Theory of Constraints: Coal stock at thermal plants is the binding constraint for peak supply · IDP / Ministry of Power
📦 EOQ MODEL PREVIEW (Week 3)
▸ Demand Rate (D):
~6 MT/month per station
▸ Ordering Cost (S):
₹2–4 Cr per coal rake
▸ Holding Cost (H):
~1.5% of coal value/month
▸ EOQ Formula:
√(2DS/H) → Optimal order qty
▸ Safety Stock:
14-day norm (CEA mandate)
▸ Reorder Point:
7-day stock level
EOQ* = √(2 × D × S ÷ H)
⚠️ COAL CRISIS TIMELINE (2021–22)
18d
Q1-21
14d
Q2-21
8d
Q3-21
4d
Q4-21
5d
Q1-22
9d
Q2-22
7d
Q3-22
13d
Q4-22
16d
Q1-23
12d
Q2-23
15d
Q3-23
17d
Q4-23
⚠️ 7-day critical
🔑 Operations Insight: Oct 2021 coal crisis → 100+ power cuts across India. Root cause: EOQ violation + supply chain breakdown. Renewables' role: reduce coal dependency → reduce stockout risk. Week 3 will model optimal buffer stock.
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data

## Slide 8
WEEK 1 FINDINGS — KEY TAKEAWAYS
01 ☀️ Solar Capacity: 26× Growth (4 GW → 106 GW)
India's fastest energy buildout ever. Target 500 GW by 2030 requires 375 GW more in 5 years.
02 ⚡ Peak Demand Breach: 200+ GW — Renewables CAN'T Cover It Alone
Solar is zero at 8 PM peak. Wind is seasonal. Storage is the missing link. This IS the MBA problem.
03 ⚫ Coal Still Dominant — But Its Share Is Falling
Coal fell from 59% → 49% of capacity. But absolute coal GW still grew. Phase-out needs storage.
04 📉 Peak Deficit Trend: Improving, But Fragile
Energy deficit dropped from 8.7% (2013) to <1% (2022). But capacity margins are thin in summer.
05 🗺️ Geographic Mismatch: Renewable States ≠ Demand States
Rajasthan solar/Gujarat wind must transmit to UP/MH/Delhi demand centers — grid constraint.
▶ NEXT: Week 2 — State deep-dive, capacity utilisation factors, demand-supply gap economics
Sources: India Data Portal (ISB/BMGF) · CEA / Ministry of Power · Robbie Andrew (CICERO) · All official Govt of India data