## Slide 1
💰
CBA
BESS Investment
📉
Pigouvian
Subsidy & Tax
📐
Wright's Law
Learning Curve
🔧
LP Expansion
Optimal Plan
“
MBA Project · Week 4 of 4 · Final Report
Policy
Recommendations
& Executive Report
4 Analyses · 5 Policy Recommendations · Executive Summary
NPV+
BESS is profitable at Rs 40 Cr/MWh
Rs 600/MWh
Pigouvian coal tax optimal
Rs 1.8/kWh
Solar LCOE at 500 GW
Rs 4.8L Cr
Total investment 2025-30
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 2
ANALYSIS 1 — COST-BENEFIT ANALYSIS
Is BESS Investment Justified?
NPV · IRR · Payback · Sensitivity — 300 GWh National Deployment
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Cumulative NPV (Rs 000 Cr) | -12 | -9.5 | -7.1 | -4.9 | -2.8 | -0.8 | 1.1 | 2.8 | 4.4 | 5.9 | 7.3 | 8.5 | 9.7 | 10.7 | 11.7
Break-even
~7 years
Capex (300 GWh)
Rs 12,000 Cr
Annual energy revenue
Rs 2,100 Cr/yr
Avoided deficit
Rs 720 Cr/yr
Avoided gas peakers
Rs 800 Cr/yr
Annual O&M
− Rs 240 Cr/yr
Net annual benefit
Rs 3,380 Cr/yr
NPV (@10% WACC)
Rs 11,700 Cr
Payback period
~7.1 years
Verdict
INVEST ✅
Sensitivity: NPV stays positive as long as BESS cost < Rs 58 Cr/MWh
(today Rs 40, falling ~15%/yr — investment window is NOW)
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 3
ANALYSIS 2 — PIGOUVIAN EXTERNALITY PRICING
Carbon Tax Coal · Subsidise Solar
Correcting the market failure: coal is underpriced, solar is undersubsidised
Chart: 
| CO2 Social Cost | Health (PM2.5) | Water Scarcity | Grid Risk
Coal Negative Externalities (Rs/MWh) | 377 | 120 | 30 | 45
Chart: 
| Energy Security | Health Benefit | Employment | Grid Diversity
Solar Positive Externalities (Rs/MWh) | 40 | 80 | 25 | 30
Coal Externalities — Pigouvian TAX needed
Solar Externalities — Pigouvian SUBSIDY needed
Chart: 
| Coal (Market) | Coal (+ Tax) | Solar (Market) | Solar (- Sub)
Price (Rs/MWh) | 4500 | 5072 | 2500 | 2325
Key Finding: Market failure is Rs 2,747/MWh
Market says coal (Rs 4,500) vs solar (Rs 2,500) = solar wins by Rs 2,000.
At social prices: coal (Rs 5,072) vs solar (Rs 2,325) = solar wins by Rs 2,747.
=> Market already favours solar — Pigou tax would accelerate transition 2-3 years.
Carbon tax revenue: Rs 600/MWh × ~1,400 TWh coal = Rs 84,000 Cr/yr
Fund: BESS subsidy + RE grid upgrades + state deficit support
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 4
ANALYSIS 3 — WRIGHT'S LAW LEARNING CURVE
Solar LCOE Trajectory to 2030
28% learning rate · every doubling of capacity cuts cost by 28%
Chart: 
| 2010 | 2012 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Historical LCOE (Rs/kWh) | 18 | 12.5 | 8 | 5.5 | 4.5 | 3.5 | 2.7 | 2.5 | 2.3 | 2.2 | 2 | 2.3 | 2.5
Conservative (300 GW) | 2.5 | 2.35 | 2.22 | 2.1 | 2.01 | 1.93 | 1.87
Base Case (400 GW) | 2.5 | 2.28 | 2.08 | 1.9 | 1.74 | 1.6 | 1.48
Ambitious (500 GW) | 2.5 | 2.22 | 1.96 | 1.74 | 1.55 | 1.38 | 1.23
28%
India's solar learning rate
(% cost fall per capacity doubling)
Rs 2.5
Current LCOE (Rs/kWh)
2024 actual
Rs 1.8
LCOE at 500 GW, 2030
(below coal at social price)
-65%
Total cost reduction
2024→2030 at 500 GW
Policy Lever: Each 10 GW increase in annual solar addition
cuts LCOE ~Rs 0.05/kWh. Speed is the subsidy.
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 5
ANALYSIS 4 — LP CAPACITY EXPANSION PLAN
Optimal Investment Roadmap 2025–2030
Multi-period LP · PuLP solver · Minimise cost subject to peak demand, budget, ramp constraints
Chart: 
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Solar (GW) | 28 | 32 | 38 | 40 | 40 | 40
Wind (GW) | 8 | 9 | 10 | 11 | 12 | 12
BESS (GW) | 2 | 3 | 4 | 5 | 5 | 5
Chart: 
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Cumulative Solar (GW) | 178 | 210 | 248 | 288 | 328 | 368
Annual Investment Plan
Year
Solar
Wind
BESS
Total
(Rs Cr)
2025
28 GW
8 GW
2 GW
42,000
2026
32 GW
9 GW
3 GW
51,000
2027
38 GW
10 GW
4 GW
62,000
2028
40 GW
11 GW
5 GW
68,000
2029
40 GW
12 GW
5 GW
70,000
2030
40 GW
12 GW
5 GW
72,000
TOTAL 2025-30: 218 GW solar + 62 GW wind + 24 GW BESS
Total capex: Rs 3,65,000 Cr · Budget ceiling: Rs 80,000 Cr/yr
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 6
POLICY — STATE-CLUSTER DIFFERENTIATED PLAN
4 Clusters, 4 Policy Levers
One-size-fits-all RE policy fails — segment and target
🏆
RE CHAMPIONS (3 states)
Rajasthan · Karnataka · Gujarat
▸ Fast-track inter-state HVDC lines
▸ Waive wheeling charges 5 yrs
▸ Mandate BESS co-location with solar farms
🎯 Export target: 50 BU/yr to demand states by 2028
⚫
COAL DEPENDENT (5 states)
UP · Maharashtra · MP · Jharkhand · WB
▸ Mandatory BESS installation with new RE permits
▸ Coal PLF floor 55% → 45% by 2027
▸ Concessional green loans for DISCOM RE purchases
🎯 Target: RES share 20%→40% by 2030
🔄
TRANSITION LEADERS (4 states)
Tamil Nadu · Andhra Pradesh · Telangana
▸ Priority grid upgrade funding
▸ Offshore wind fast-track (TN coastline)
▸ Demand response programs
🎯 Target: Add 15 GW RE + 8 GWh BESS by 2028
⚡
ENERGY STARVED (6+ states)
Bihar · HP · Northeast states
▸ Viability gap funding for small solar
▸ Energy access subsidy program
▸ Community solar microgrids
🎯 Target: Eliminate energy deficit by 2027
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 7
5 POLICY RECOMMENDATIONS
From Models to Action
Ranked by impact × feasibility · Time-bound · Accountable
P1 · HIGH
🔋 Mandate 300 GWh BESS by 2030
NPV-positive at Rs 40 Cr/MWh · Reduces coal 65% at evening peak · Payback 7 yrs
Mechanism: Viability Gap Funding · Competitive tendering · DISCOM must-buy
Cost: Rs 12,000 Cr capex · Rs 84,000 Cr/yr carbon tax funds it
Owner: MNRE + MoP · FY2025 announcement · FY2026 tenders
Rs impact →
P2 · HIGH
🔌 Fast-Track Inter-State Grid (HVDC)
Rajasthan→UP/MH unlocks Rs 60,000 Cr/yr stranded RE value · Reduces transmission loss
Mechanism: Green energy corridors · PowerGrid mandate · TBCB bids
Cost: Rs 45,000 Cr over 5 yrs · Self-funded by wheeling revenue
Owner: MoP · Transmission plans by Q2 FY2026
Rs impact →
P3 · MED
💰 Pigouvian Carbon Tax: Rs 600/MWh on Coal
Corrects Rs 2,747/MWh market failure · Rs 84,000 Cr/yr revenue · Prices externality
Mechanism: Environment cess on coal power · Revenue to Green Transition Fund
Cost: Revenue positive from Day 1 · Displaces Rs 5,500 Cr/yr coal subsidy
Owner: Ministry of Finance · Budget 2026-27
Rs impact →
P4 · MED
📐 Accelerate Solar to 400 GW by 2028
LCOE falls to Rs 2.1/kWh · Learning curve benefit Rs 0.4/kWh vs today · Grid parity locked
Mechanism: PM-KUSUM expansion · Rooftop 2.0 · PLI for manufacturing
Cost: Rs 30,000 Cr subsidies → LCOE savings Rs 80,000 Cr/yr by 2030
Owner: MNRE · Annual targets in NEP revision
Rs impact →
P5 · LOW
📦 Enforce EOQ Norms for Coal Stocks
Prevents Oct 2021 repeat (100+ critical stations) · Supply chain, not coal shortage
Mechanism: NPP real-time monitoring · ROP alert system · Penalty for stock < normative
Cost: Implementation cost < Rs 500 Cr · Prevents Rs 30,000 Cr annual deficit cost
Owner: CEA / MoP · Notification within 6 months
Rs impact →
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 8
RISK MATRIX & SENSITIVITY
What Could Go Wrong?
Key risks ranked by impact × probability · Mitigation strategies
Chart: 
| [object Object] | [object Object] | [object Object]
Medium Risks | [object Object] | [object Object] | [object Object]
Low Risks | [object Object] | [object Object] | [object Object]
BESS costs stay high
Grid not upgraded
Demand grows faster
Coal PLF collapse
DISCOM resistance
Fuel price volatility
Tech breakthrough (upside)
Policy reversal
Slow financing
Risk Mitigation Strategies
BESS cost stays high
VGF + import duty waiver · BESS PLI scheme
Grid not upgraded
PowerGrid mandate + tariff reform
Demand grows faster
Demand response + energy efficiency
DISCOM resistance
Must-buy regulation + payment security
Coal PLF collapse
EOQ enforcement + minimum offtake guarantee
Tech breakthrough
R&D policy flexibility + review clauses
Slow green financing
Green bonds + IREDA expansion
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion

## Slide 9
“
FINAL THESIS — 4-WEEK MBA PROJECT
Renewables solved
the capacity gap.
Storage solves
the timing gap.
Policy makes it happen.
5 models · 4 weeks · 1 clear answer:
300 GWh BESS + Pigouvian tax + LP expansion
→ Coal at 8pm: 200 GW today → 70 GW by 2030
W1
Data Pipeline
Solar 26×, deficit <1%
W2
Descriptive Analysis
Solar=0 at 8pm, BESS gap 75-125×
W3
SARIMAX·EOQ·LP·KMeans
295 GW by 2030, 4 clusters, coal 200 GW at peak
W4
CBA·Pigou·Learning·LP
BESS NPV+, Rs 600/MWh tax, Rs 1.8/kWh solar 2030
Data: IDP (ISB/BMGF) · CEA · NPP · POSOCO · CICERO · All official Govt of India
Data: India Data Portal (ISB/BMGF) · CEA · NPP · CICERO · All official Govt of India · Models: CBA · Pigouvian · Wright's Law · LP Expansion